DRAFT IAPT Assessment Criteria for Digitally Enabled Therapies
Drafted August 2021
These assessment criteria have been developed to assess a group of products used within IAPT services known as Digitally Enabled Therapies (DET). The criteria has been designed to enable the presentation of a consistent and proportionate set of evidence to organisations buying digitally enabled therapy products.

This is currently in draft form and is under consultation.

## Core assessment criteria
The following criteria make up the core criteria of the IAPT DET assessment. They are developed to deliver a yes/no response and must be met before the product can be considered for the clinical content assessment.
Identifier	Assessment Criteria	Response option	Supporting information
A1	The product has passed the national baseline digital health and care technology assessment criteria (DTAC)	Yes | No	See DTAC guidance
A2	The product is designed to treat one of the 13 clinical conditions covered by IAPT: depression, generalised anxiety disorder, social anxiety disorder, panic disorder, agoraphobia, post-traumatic stress disorder, health anxiety (hypochondriasis), specific phobia, obsessive-compulsive disorder, body dysmorphic disorder, irritable bowel syndrome, chronic fatigue syndrome, or medically unexplained symptoms not otherwise specified	Yes | No / State condition	List of conditions in Annex A
A3	The product is designed to treat adults	Yes | No
A4	The product is designed to deliver a NICE recommended therapeutic intervention	Yes | No / State intervention type if known (description of step 2 intervention) / Free text explanation and screenshots
A5	The product is designed to be used in IAPT services with therapist assistance	Yes | No / Free text explanation and screenshots	Definition of assistance – product use is based on therapist review of a patient’s progress and the therapist regularly (weekly or bi weekly) interacting with a patient about their progress
A6	The product is designed to allow two-way communication between the therapist and patient	Yes | No / Free text explanation and screenshots
A7	The product allows the therapist to view a patient’s written inputs on the programme	Yes | No / Free text explanation and screenshots
A8	The product will be made available to be commissioned by NHS organisations	Yes | No

## Clinical content and evidence of effectiveness assessment
Clinical assessment

The clinical content assessment has been developed to ensure that products used within IAPT services meet the IAPT principles of providing evidence-based treatment. Therefore, the content and structure of the treatment within the DET must mirror a NICE recommended psychological therapy intervention for the relevant condition.

Please see the Guidance Notes for more information.

Identifier	Assessment Criteria	Response option	Supporting information
B1	The product delivers interventions which are recommended by NICE for the relevant clinical condition	Yes | No / State NICE guidance being followed and what intervention the product intends to deliver	Refer to NICE guidance for relevant clinical condition
B2	The product delivers these interventions using approved IAPT treatment protocols (as detailed in the relevant IAPT Training curriculum and Competence Frameworks)	Yes | No / State condition / State intervention type if known (description of step 2 intervention) / State the aspects of the protocol that the product will deliver / Describe how the product has been designed to deliver the intervention with therapist support which offers the best fidelity to the treatment protocol	Refer to Annex C for IAPT protocol content assessments

Evidence of effectiveness assessment

The evidence of effectiveness assessment has been developed to ensure that products have an adequate level of evidence as described by the Evidence Standards Framework for digital health technologies.

Please see the Guidance Notes for more information.

Identifier	Assessment Criteria	Response option	Supporting information
C1	The product can demonstrate appropriate level of evidence of effectiveness given its level of maturity in line with the NICE Evidence Standards Framework for digital health technologies.	Yes | No / Please provide evidence of effectiveness	Refer to NICE the Evidence Standards Framework for digital health technologies / For products to receive endorsement to allow unlimited use within IAPT services they will be required to present best practice standard evidence for tier C products.

## Self-reported assessment criteria
These self-reported criteria have been developed to indicate the capabilities of products that are desirable within IAPT DETs. These criteria are not pass/fail, instead developers will be obliged to disclose their answers to these criteria to support commissioners and providers of IAPT services in deciding which products are most appropriate for them.

Identifier	Assessment Criteria	Response option	Supporting information
D1	The product allows the collection of sessional outcome data from the patient	Yes | No / Free text explanation and screenshots	See Annex B
D2	The product presents a graphical view of the sessional outcome data to the patient	Yes | No / Free text explanation and screenshots
D3	The product presents a graphical view of each patient’s sessional outcomes data under the therapist’s care to the therapist	Yes | No / Free text explanation and screenshots
D4	The product presents a graphical view of each patient’s level of risk under the therapist’s care to the therapist	Yes | No / Free text explanation and screenshots
D5	The product indicates if a patient has increased risk over the course of treatment to the therapist	Yes | No / Free text explanation and screenshots
D6	The product used IAPT approved outcome measures for each condition as detailed in the IAPT manual	Yes | No / Free text explanation and screenshots	See Annex B
D7	The product has the capability to flow outcomes data to the IAPT system suppliers in a format that they can be incorporated into the IAPT minimum dataset	Yes | No / Free text explanation and screenshots
D8	The supplier has training materials for the implementation and ongoing use of the product within IAPT settings	Yes | No / Free text	Supplier required to state their capability for supporting IAPT services
D9	The supplier has the capacity to deliver telephone and online helpdesk support	Yes | No / Free text	Supplier required to state their capability for supporting IAPT services
D10	The supplier has committed to the maintenance and update of the technology and content of the product	Yes | No / Free text
D11	The supplier has disclosed their de-commissioning cost model	Yes | No / Free text
D12	The supplier has published their APIs to enable interoperability between other technology products used within IAPT	Yes | No / Free text

# Annex A – List of IAPT conditions within scope
To be within scope of this assessment the product needs to be designed to treat 1 of the 13 clinical conditions covered by IAPT:

Condition	Description
Depression	A mental health problem characterised by pervasive low mood, a loss of interest and enjoyment in ordinary things, and a range of associated emotional, physical and behavioural symptoms. Depressive episodes can vary in severity, from mild to severe.
Generalised anxiety disorder	An anxiety disorder characterised by persistent and excessive worry (apprehensive expectation) about many different things, and difficulty controlling that worry. This is often accompanied by restlessness, difficulties with concentration, irritability, muscular tension and disturbed sleep.
Social anxiety disorder (social phobia)	Characterised by intense fear of social or performance situations that results in considerable distress and in turn impacts on a person’s ability to function effectively in aspects of their daily life. Central to the disorder is the fear that the person will do or say something that will lead to being judged negatively by others and being embarrassed or humiliated. Feared situations are avoided or endured with intense distress.
Panic disorder	Repeated and unexpected attacks of intense anxiety accompanied by physical symptoms. There is a marked fear of future attacks and this can result in avoidance of situations that may provoke a panic attack.
Agoraphobia	Characterised by fear or avoidance of specific situations or activities that the person worries may trigger panic-like symptoms, or from which the person believes escape might be difficult or embarrassing, or where help may not be available. Specific feared situations can include leaving the house, being in open or crowded places, or using public transport.
Obsessive-compulsive disorder (OCD)	Characterised by the recurrent presence of either an obsession (a person’s own unwanted thought, image or impulse that repeatedly enters the mind and is difficult to get rid of) or compulsions (repetitive behaviours or mental acts that the person feels driven to perform, often in an attempt to expel or ‘neutralise’ an obsessive thought). Usually a person has both obsessions and compulsions.
Specific phobias	An extreme and persistent fear of a specific object or situation that is out of proportion to the actual danger or threat. This can include a fear of heights, flying, particular animals, seeing blood or receiving an injection.
Post-traumatic stress disorder (PTSD)	The name given to one set of psychological and physical problems that can develop in response to particular threatening or distressing events, such as physical, sexual or emotional abuse, severe accidents, disasters and military action. Typical features of PTSD include repeated and intrusive distressing memories that can cause a feeling of ‘reliving or re-experiencing’ the trauma, emotional detachment and social withdrawal, avoidance of reminders and sleep disturbance.
Health anxiety (hypochondriasis)	A central feature is a persistent preoccupation with the possibility that the person has, or will have, a serious physical health problem. Normal or commonplace physical symptoms are often interpreted as abnormal and distressing, or as indicators of serious illness.
Body dysmorphic disorder	Characterised by a preoccupation with an imagined defect in one’s appearance or, in the case of a slight physical anomaly, the person’s concern is markedly excessive. Time consuming behaviours such as mirror-gazing, comparing features with those of others, excessive camouflaging tactics, and avoidance of social situations and intimacy are common, with a significant impact on the person’s levels of distress and/or occupational and social functioning.
Mixed anxiety and depressive disorder	A mild disorder characterised by symptoms of depression and anxiety that are not intense enough to meet criteria for any of the conditions described above but are nevertheless troublesome. The diagnosis should not be used when an individual meets the criteria for a depressive disorder and one or more of the anxiety disorders above, such people should be described as being comorbid for depression and the relevant anxiety disorder(s).
Irritable bowel syndrome*	A common functional gastrointestinal disorder. It is a chronic, relapsing and often lifelong disorder, characterised by the presence of abdominal pain or discomfort associated with defaecation, a change in bowel habit together with disordered defaecation (constipation or diarrhoea or both), the sensation of abdominal distension and may include associated non-colonic symptoms. May cause associated dehydration, lack of sleep, anxiety and lethargy, which may lead to time off work, avoidance of stressful or social situations and significant reduction in quality of life.
Chronic fatigue syndrome*	Comprises a range of symptoms that include fatigue, malaise, headaches, sleep disturbances, difficulties with concentration and muscle pain. A person’s symptoms may fluctuate in intensity and severity, and there is also great variability in the symptoms different people experience. It is characterised by debilitating fatigue that is unlike everyday fatigue and can be triggered by minimal activity. Diagnosis depends on functional impairment and the exclusion of other known causes for the symptoms.
MUS not otherwise specified*	Distressing physical symptoms that do not have an obvious underlying diagnosis and/or pathological process.

* IAPT services are only expected to treat these conditions if they have developed an IAPT-LTC pathway and have staff who have received training in the treatment of these conditions

Table descriptor: Overview of depression, anxiety disorders and other conditions

# Annex B – Table of condition appropriate outcome measures
The IAPT manual states that outcome measure questionnaires are expected to be completed on a session-by-session basis for all individuals receiving treatment in IAPT services. The manual requires using the appropriate anxiety disorder specific measures (ADSMs) and/or the Medially Unexplained Symptoms (MUS) outcome measures as indicated by the problem descriptor.

The appropriate measures can be found in the table below:

Main mental health / problem (primary / problem / descriptor)	Depression / symptom / measure	Recommended / measure for / anxiety / symptoms or / MUS	Further option, / only used if / ‘recommended / measure for / anxiety / symptoms or / MUS’ is missing	Measure / of / disability
Depression	PHQ-9	GAD-7		WSAS
Generalised anxiety disorder	PHQ-9	GAD-7		WSAS
Mixed anxiety/depression	PHQ-9	GAD-7		WSAS
No problem descriptor	PHQ-9	GAD-7		WSAS
Social anxiety	PHQ-9	SPIN	GAD-7	WSAS
Post-traumatic stress disorder	PHQ-9	PCL-5	GAD-7	WSAS
Agoraphobia	PHQ-9	MI	GAD-7	WSAS
Obsessive compulsive disorder	PHQ-9	OCI	GAD-7	WSAS
Panic disorder	PHQ-9	PDSS	GAD-7	WSAS
Body dysmorphic disorder	PHQ-9	BIQ	GAD-7	WSAS
Irritable bowel syndrome	PHQ-9	Francis IBS Scale	GAD-7	WSAS
Chronic fatigue syndrome	PHQ-9	Chalder Fatigue / Questionnaire	GAD-7	WSAS
Chronic pain (in the context of anxiety/depression)	PHQ-9	GAD-7		WSAS
Medically unexplained symptoms	PHQ-9	PHQ-15	GAD-7	WSAS
Health anxiety	PHQ-9	HAI	GAD-7	WSAS

Table descriptor: IAPT outcome measures by problem descriptor (taken from the IAPT manual)

# Annex C – Treatment specific protocol content assessments
IAPT Condition	Treatment	NICE recommended protocols	Content Assessment
Depression	CBT	Beck model	Refer to UCL competency framework
	BA	Jacobson model	Refer to UCL competency framework
Generalised Anxiety Disorder	CBT	Borkovec model	Refer to UCL competency framework
	CBT	Ducas/ Ladouceur model	Refer to UCL competency framework
		Zinbarg/Craske/Barlow model	Refer to UCL competency framework
Social Anxiety Disorder	CBT	Heimberg model	Refer to UCL competency framework
		Clark and Wells model	Refer to UCL competency framework
Panic Disorder	CBT	Clark model	Refer to UCL competency framework
		Barlow model	Refer to UCL competency framework
Obsessive-Compulsive Disorder	CBT	Stekettee model	Refer to UCL competency framework
		Kozac model	Refer to UCL competency framework
Specific Phobias	CBT	Refer to the specifi phobia standards attachment	Refer to UCL competency framework
Body Dysmorphic Disorder	CBT	Veale model	Refer to UCL competency framework
Irritable Bowel Syndrome	CBT	Refer to the CBT IBS standards	Refer to UCL competency framework
Health Anxiety	CBT	Refer to model within the UCL competency framework	Refer to UCL competency framework
PTSD	CBT	Foa/Rothbaum model	Refer to UCL competency framework
		Resick model	Refer to UCL competency framework
		Ehlers model	Refer to UCL competency framework

# Glossary
ADSMs	Anxiety Disorder Specific Measures
API	Application Programming Interface
BIQ	Body Image Questionnaire
CBT	Cognitive Behavioural Therapy
DET	Digitally Enabled Therapy
EPR	Electronic Patient Record
GAD-7	Generalised Anxiety Disorder Scale – 7 items
HAI	Health Anxiety Inventory
IAPT	Improving access to Phycological Therapies
LTC	Long Term Condition
MDS	Minimum Data Set
MI	Mobility Inventory (MI) for Agoraphobia
MUS	Medically Unexplained Symptoms
NICE	National Institute of Care Excellence
OCI	Obsessive Compulsive Inventory
PCL-5	PTSD (post-traumatic stress disorder) checklist for DSM-5 (Diagnostic and Statistical Manual of Mental Disorders - Fifth Edition)
PHQ-9	Patient Health Questionnaire – 9 items
PHQ-15	Patient Health Questionnaire – 15 items
RCT	Randomised Control Trial
SPIN	Social Phobia Inventory
WSAS	Work and Social Adjustment Scale